2511
OPERATION AND MAINTENANCE ─ USING A PUMP AND HOSES, BACKFLOW PREVENTION  

2511.1
A person shall operate a water tank, pump, and hoses so that backflow and other contamination of the water supply are prevented.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
