2600
MOBILE HOLDING TANK, CAPACITY, AND DRAINAGE  

2600.1
A sewage holding tank in a mobile food establishment shall be fifteen percent (15() larger in capacity than the water supply tank and sloped to a drain that is twenty-five millimeters (25 mm) or one inch (1 in.) in inner diameter or greater, equipped with a shut-off valve.
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
