701

DESIGN, CONSTRUCTION, AND INSTALLATION ─ APPROVED SYSTEM AND CLEANABLE FIXTURES*

701.1       
A plumbing system shall be designed, constructed, and installed according to the Plumbing Code.

701.2
A plumbing system shall be of sufficient size and shall be designed, constructed, installed and maintained according to the Plumbing Code to: 

(a)
Properly convey sewage and liquid disposable waste from the premises; 
(c)
Avoid constituting a source of contamination to potable water, equipment and devices, or creating any unsanitary condition; and


(d)
Provide sufficient floor drainage to prevent excessive pooling of water or other disposable waste in all areas where floors are subject to flooding-type cleaning or where normal operations release or discharge water or other liquid waste on the floor. 

701.3


A plumbing fixture such as a handwashing facility, toilet, or urinal shall be easily cleanable.N  

701.4
Each massage establishment or health spa facility shall be equipped with effective plumbing and sewage facilities and adequate accommodations.  
Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
