608
DISTRIBUTION, DELIVERY, AND RETENTION ─ ALTERNATIVE WATER SUPPLY  

608.1
Water meeting the requirements specified in sections 600 through 607 shall be made available for a massage establishment or health spa facility with a temporary interruption of its water supply through:  

(a)
A supply of containers of commercially bottled drinking water;


(b)
One or more closed portable water containers;

(c)

An enclosed vehicular water tank;

(d)
An on-premises water storage tank; or

(e)
Piping, tubing, or hoses connected to an adjacent approved source.

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
