1506
DISPOSAL FACILITY - APPROVED SYSTEM*

1506.1
Sewage shall be disposed through an approved facility that is a public sewage treatment plant or an individual sewage disposal system that is sized, constructed, maintained, and operated according to the Plumbing Code.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

