1507
DISPOSAL FACILITIL OTHER LIQU ID WASTES AND RAINWATER

1507.1
Condensate drainage and other nonsewage liquids and rainwater shall be drained from point of discharge to disposal according to applicable District laws and regulations.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

