2308

EMERGENCY PLANS

2308.1
Each gas corporation or small gas operator subject to the Commission's jurisdiction shall do the following:

(a)
Establish an emergency plan to be implemented in the event of facility failures or other emergencies;

(b)
Acquaint appropriate maintenance and operating employees with the operation of the applicable portions of the plan;

(c)
Establish a liaison with appropriate public officials with respect to this plan; and

(d)
File with the Office of Engineering the name and telephone number of the employee(s) and official(s) of the gas corporation or small gas operator who may be called in an emergency. It shall be the responsibility of each gas corporation or small gas operator to keep this information current.

SOURCE: Final Rulemaking published at 33 DCR 6625, 6627 (October 24, 1986); as amended by Final Rulemaking published at 60 DCR 7 (January 4, 2013).

