3238
HEATING AND COOLING

3238.1
Each piece of heating and air conditioning equipment and its installation shall comply with the 1996 BOCA International Mechanical Code (Heating, Air Conditioning and Refrigeration), and all other applicable District laws and regulations.

3238.2
Each heating system shall be of a size and capacity to maintain a minimum temperature of seventy-one degrees Fahrenheit (71 [degrees] F).

3238.3
Each room that is used by a resident shall be maintained at a minimum temperature of seventy-one degrees Fahrenheit (71 [degrees] F) and a maximum of eighty-one degrees Fahrenheit (81 [degrees] F) at all times when the room is occupied.

3238.4
Each heating and cooling system shall be thermostatically controlled from one (1) or more areas, and shall be accessible to appropriate facility staff.

3238.5
Each heating fixture shall be properly shielded for the safety of each resident.

3238.6
Each heating source shall be equipped with hand controls.

3238.7
No portable room heater or space heater shall be permitted in any room.

3238.8
A fireplace may be utilized for decorative, social, and recreational purposes only.

3238.9
Only authorized persons shall have access to the boiler and the mechanical equipment room.


SOURCE: Notice of Final Rulemaking published at 49 DCR 473 (January 18, 2002); as corrected by Errata Notice published at 55 DCR 12957 (December 26, 2008).

