3237
SEWAGE AND SOLID WASTE DISPOSAL

3237.1
Each system for the disposal of water-carried sewerage shall be constructed, operated, and maintained in accordance with the 1995 BOCA International National Plumbing Code, District of Columbia Construction Code Supplement, Title 12 DCMR and all other applicable District laws and regulations.

3237.2
Solid waste management, including each disposal and incineration facility, shall comply with the provisions of the Environmental Regulations (Title 20 DCMR), the Alcoholic Beverages and Food regulations (Title 23 DCMR), the 1996 BOCA National Building Code, and all other applicable District laws and regulations.

3237.3
The frequency of trash and garbage pick-ups shall be adequate to prevent storage periods longer than four (4) days.

3237.4
Adequate facilities shall be provided for the collection and storage of trash and all other refuse accumulations.

3237.5
Trash and waste shall be handled and stored in a manner pursuant to the requirements set forth in Titles 20 and 23 of the DCMR.


SOURCE: Notice of Final Rulemaking published at 49 DCR 473 (January 18, 2002).

