District of Columbia Municipal Regulations


3312
PENTHOUSES
3312.1
The provisions of § 411 shall apply to penthouses in the StE Zone Districts.
3312.2
A penthouse may be erected to a height in excess of that permitted in § 3301 but shall not exceed the height, as measured from the surface of the roof upon which the penthouse sits, in the following table:

	ZONE DISTRICT
	MAXIMUM PENTHOUSE HEIGHT 
	MAXIMUM PENTHOUSE STORIES

	StE-1, StE-4,    StE-8, StE-10, StE-11, StE-14, StE-7 pursuant to              § 3301.4(b)
	12 ft. except 15 ft. for penthouse mechanical space 
	1; second story permitted for penthouse mechanical space

	StE-2, StE-5, StE-9
	12 ft. except 18 ft. 6 in. for penthouse mechanical space
	1; second story permitted for penthouse mechanical space

	StE-3, StE-12, StE-15, StE-17

StE-7 pursuant to              § 3301.4(a)
	20 ft.
	1; second story permitted for penthouse mechanical space

	StE-6, StE-13,  StE-18
	20 ft.
	1 plus mezzanine; second story permitted for penthouse mechanical space


SOURCE: Final Rulemaking published at 60 DCR 4834 (March 29, 2013); as amended by Final Rulemaking published at 63 DCR 390 (January 8, 2016).
	
	Zoning
11 DCMR § 3312

	

	
	
	



