District of Columbia Municipal Regulations


1816
WELL CONSTRUCTION REQUIREMENTS: WELL SCREENS

1816.1
No person shall construct a well in which the well screen extends across more than one aquifer, unless:

(a)
A special compliance standard request was submitted in accordance with §§ 1803.10 and 1803.11; 

(b)
Adequate justification is provided to support the request;

(c)
The cross-contamination of aquifers is prevented; and 

(d)
The request is approved by the Department in the well construction work plan.

1816.2
A well that derives water from an unconsolidated aquifer shall be equipped with a well screen that limits the entrance of sediment material into the well following well development.

1816.3
Only a machine-manufactured well screen shall be used in the construction of a well, unless otherwise approved by the Department.

1816.4
A well screen shall have sufficient structural strength to support the intended use of the well.

1816.5
A well screen shall be installed with fittings necessary to seal the well screen to the well casing.

1816.6
A lead packer and lead swedge shall not be used to seal a well screen to the well casing.

1816.7
A fitting shall be provided to close the bottom of the well screen and to cap, plug, or otherwise close the bottom of the well.

1816.8
A well screen of a well sited on a property where a recognized environmental condition has been identified shall be constructed to prevent structural degradation.

Source: Final Rulemaking published at 63 DCR 13424 (October 28, 2016).

	
	Water and Sanitation
21 DCMR § 1816

	

	
	
	



