2601
RETENTION, DRAINAGE, AND DELIVERY ─ DRAINAGE SYSTEM  

2601.1
Food establishment drainage systems, including grease traps, that convey sewage shall be designed and installed as specified in § 2401.1.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
