3008
LIGHTING ─ INTENSITY  

3008.1
The light intensity shall be:  

(a)
At least one hundred eight (108) lux or ten (10) foot candles at a distance 
of seventy-five centimeters (75 cm) or thirty inches (30 in.) above the 
floor, in walk-in refrigeration units and dry food storage areas and in other 
areas and rooms during periods of cleaning;

(b)
At least two hundred fifteen (215) lux or twenty (20) foot candles:  

(1)
At a surface where food is provided for consumer self-service, 
such as buffets and salad bars, or where fresh produce or packaged 
foods are sold or offered for consumption;

(2)
Inside equipment such as reach-in and under-counter refrigerators; 
and 

(3)
At a distance of seventy-five centimeters (75 cm) or thirty  inches 
(30 in.) above the floor in areas used for handwashing, 
warewashing, and equipment and utensil storage, and in toilet 
rooms; and

(c)
At least five hundred forty (540) lux or fifty (50) foot candles at a 
surface 
where a food employee is working with food or working with utensils or 
equipment including knives, slicers, grinders, or saws where employee 
safety is a factor.
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
