3011
SERVICE SINKS ─ AVAILABILITY 

3011.1
A service sink or curbed cleaning facility shall be provided as specified in § 2408.1.

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
