703

HANDWASHING SINKS ─ USE, NUMBER, AND LOCATION

703.1


Handwashing sinks shall be located to allow convenient use by employees in, or immediately adjacent to, toilet rooms.  

703.2


A handwashing sink shall be maintained so that it is accessible at all times for employees’ use.  

703.3


A handwashing sink shall not be used for purposes other than handwashing.  

703.4


An automatic handwashing facilities may be substituted for handwashing sinks in a massage establishment or health spa facility that has at least one (1) handwashing sink.

703.5


An automatic handwashing facility shall be used in accordance with the manufacturer’s instructions.

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
