6442
FACILITY AND OPERATING PLANS - WHEN REQUIRED

6442.1
An applicant or licensee shall submit to the Department of Health for review and approval properly prepared plans and specifications before:

(a)
Opening a new swimming pool or spa;

(b)
Beginning construction of a swimming pool or spa facility;

(c)
Beginning modifications to an existing swimming pool or spa; or

(e)
Changing the type of swimming pool or spa facility's operation.

6442.2
The applicant or licensee shall submit plans and specifications, a Department application form, and applicable fees to the Department at least thirty (30) calendar days before beginning construction, or renovation, or retrofits of any swimming pool or spa facility.

6442.3
The Department shall accept completed plans and specifications approved by the Department of Consumer and Regulatory Affairs that meet the requirements of these regulations, and shall report its findings to the applicant or licensee within thirty (30) days of the date the completed plans are received.

6442.4
Plans and specifications that are not approved as submitted shall be changed to comply with these regulations or shall be returned as disapproved.


SOURCE: Final Rulemaking published at 55 DCR 012845 (December 26, 2008).

