6443
FACILITY AND OPERATING PLANS - CONTENTS AND SPECIFICATIONS

6443.1
The following plans and specifications for a swimming pool or spa shall be submitted to the Department of Consumer & Regulatory Affairs for review and approval as specified in section 6442.5:

(a)
Proposed layout, mechanical schematics, construction materials, and finish schedules;

(b)
Proposed equipment types, manufacturers, model numbers, locations, dimensions, performance capacities, and installation specifications;

(c)
A complete set of elevations and drawings for all custom fabricated equipment;

(d)
Other information that may be required before the Department of Consumer & Regulatory Affairs may approve proposed plans for the construction, or renovation, or retrofits, including approvals by other District agencies, when necessary.


SOURCE: Final Rulemaking published at 55 DCR 012845 (December 26, 2008).

