3702
ADDITIONAL PREREQUISITE FOR OPERATION ─ PROPANE PERMIT

3702.1
All food vendors who use propane shall: P 

(a)
Obtain a valid propane permit issued by the Fire Prevention Division of 
the Fire and Emergency Medical Services Department and post the permit 
on the vehicle at all times; 

(b)
Obtain direct written approval from the Fire Marshall of the District of 
Columbia to use propane cylinders in excess of sixty (60) pounds;  

(c)
Secure all propane compartments; and 
(d)
Post “No Smoking – Propane Gas" signs on the vehicle. 

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
