610
PHYSICAL FACILITIES ─ CLEANABILITY, SANITIZATION AND MAINTENANCE OF PLUMBING FIXTURES

610.1
Plumbing fixtures such as handwashing sinks, toilets, and urinals shall be cleaned as often as necessary to keep them clean and well-maintained.  

610.2
All tanning facilities shall be equipped with toilet facilities, which include a water closet and handwashing sinks, including hot and cold running water, hand cleaning liquid or powder, and a paper towel dispenser or equivalent hand drying equipment. 

610.3
All restrooms shall be kept in sanitary condition and good repair. 

SOURCE: Final Rulemaking published at 60 DCR 3582 (March 15, 2013).
