412
WATER CAPACITY ─ QUANTITY AND AVAILABILITY 

412.1
The water source and system shall be of sufficient capacity to meet the water demands of the tanning facility.

412.2
Hot water generation and distribution systems shall be sufficient to meet the peak hot water demands throughout the tanning facility.

SOURCE: Final Rulemaking published at 60 DCR 3582 (March 15, 2013).
