District of Columbia Municipal Regulations


1826
WELL CONSTRUCTION REQUIREMENTS: REPORTING

1826.1
Within sixty (60) calendar days of construction of a new well, a well owner shall provide a well completion report to the Department in accordance with the reporting requirements of § 1826.3.

1826.2
A well completion report shall not be required for a well currently under a Department regulatory action, or for a well that is exempt from the well construction building permit requirement pursuant to § 1802.

1826.3
A well completion report submitted to the Department shall include the following details:

(a)
The well owner’s name, mailing address, telephone number, and electronic mailing address;  

(b)
The property owner’s name, mailing address, telephone number, and electronic mailing address, if different from the information provided pursuant to § 1826.3(a);

(c)
The physical location of the property on which the well is sited, in the form of a physical address, a square, suffix, and lot, or closest physical location identifier;

(d)
The well construction as-built schematic detailing the well construction;

(e)
The intended use of the well;

(f)
The building permit number;

(g)
The well registration number;

(h)
The well construction completion date;

(i)
The horizontal location of the well using either the Maryland State Plane Coordinate System or latitude and longitude; 

(j)
The vertical elevation of the well casing based upon the North American Datum 1988 (NAVD88), if required;

(k)
The placement and description of any equipment or materials that were or could be placed in the well such as, pumps or liners, or any water-impacting activities;

(l)
The geological boring logs;

(m)
The well development logs;

(n)
A statement signed by the well owner that the well was constructed in accordance with well construction building permit issued by DCRA, the well construction work plan, the well registration, and in accordance with the well construction procedures of this chapter; and

(o)
Any other relevant information not included in the well construction building permit application or the well registration application.

Source: Final Rulemaking published at 63 DCR 13424 (October 28, 2016).

	
	Water and Sanitation
21 DCMR § 1826

	

	
	
	



