District of Columbia Municipal Regulations


1825
WELL CONSTRUCTION REQUIREMENTS: RECOVERY WELL

1825.1
The materials and the methods used to construct, maintain, and abandon a recovery well shall be compatible with the chemical and physical properties of the pollutants known to exist or potentially exist where a well will be sited.

1825.2
A recovery well borehole shall not penetrate to a depth greater than the depth from which contaminants are to be recovered.

1825.3
If a well or borehole extends to a depth greater than the depth from which contaminants are to be recovered, the well or borehole shall be grouted in accordance with § 1818 to prevent vertical migration of contaminants.  

1825.4
No person shall discharge the effluent of a recovery well to the waters of the District prior to obtaining all applicable District and federal permits.
Source: Final Rulemaking published at 63 DCR 13424 (October 28, 2016).

	
	Water and Sanitation
21 DCMR § 1825

	

	
	
	



