District of Columbia Municipal Regulations


1822
WELL CONSTRUCTION REQUIREMENTS: MONITORING WELL,  OBSERVATION WELL, AND PIEZOMETER

1822.1
The construction of a monitoring well, observation well, or piezometer shall be conducted by a method that allows for the determination of characteristics of the geologic materials under the site, unless otherwise approved by the Department in the well construction work plan.

1822.2
A monitoring well, observation well, or piezometer’s uncompleted borehole shall not penetrate to a depth greater than the depth to be monitored, and any portion of the borehole that extends to a depth greater than the depth to be monitored shall be grouted completely to prevent vertical migration of contaminants.

Source: Final Rulemaking published at 63 DCR 13424 (October 28, 2016).

	
	Water and Sanitation
21 DCMR § 1822

	

	
	
	



