2604
RETENTION, DRAINAGE, AND DELIVERY ─ CONVEYING SEWAGE  

2604.1
Sewage shall be conveyed to the point of disposal through an approved sanitary sewage system or other system, including use of sewage transport vehicles, waste retention tanks, pumps, pipes, hoses, and connections that are constructed, maintained, and operated in accordance with the D.C. Plumbing Code (2008) incorporating the International Plumbing Code 2006, as amended by the D.C. Plumbing Code Supplement (Subtitle F of 12 DCMR). P  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
