2606
RETENTION, DRAINAGE, AND DELIVERY ─ FLUSHING A WASTE RETENTION TANK  

2606.1
A tank for liquid waste retention shall be thoroughly flushed and drained in a sanitary manner during the servicing operation.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
