705
 


HANDWASHING SINKS ─ DISPOSABLE TOWELS, WASTE RECEPTACLE
705.1


A handwashing sink or group of adjacent sinks that is supplied with disposable towels or suitable drying devices shall be provided with a waste receptacle as specified in section 805.3.  
Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
