3804
LIGHTING

3804.1
Each room in a MHCRF shall have adequate light, and each bedroom having sufficient light for reading (at a minimum one hundred (100) watt bulb).

3804.2
A night light shall be in each bathroom, hallway and offered to residents for use in their sleeping rooms.

3804.3
Each outside entrance shall be lighted.


SOURCE: Final Rulemaking published at 42 DCR 569, 575 (January 27, 1995).

