3251
THERAPY SERVICE AREAS

3251.1
Each facility shall have therapy areas of sufficient size to accommodate and store all necessary equipment and supply items, and to facilitate the movement of the residents and staff.

3251.2
Appropriate equipment for each function performed in the therapy service areas shall be provided and properly installed, with utilities properly safeguarded.

3251.3
Space shall be provided for examinations, treatment, and other therapeutic activities and shall include:

(a)
A treatment table or special treatment chair;

(b)
A sink with accessible controls;

(c)
An instrument sterilizer approved by the D.C. Fire Department;

(d)
An instrument table;

(e)
Necessary equipment for the therapy provided, instruments and supplies; and

(f)
Handicapped bathrooms accessible for residents' use equipped with handrails and grab bars.


SOURCE: Notice of Final Rulemaking published at 49 DCR 473 (January 18, 2002).

