904
FIRE ALARM SYSTEMS

904.1
The operator of each housing business shall maintain in an operable condition all required fire alarm systems.

904.2
The operator of each housing business shall provide and maintain informative signs concerning the operation of the local fire alarm system at each striking station.

904.3
Each operator shall post and maintain signs referring to fires in accordance with section F-104.3 of Article 1 of the Fire Prevention Code of 1986, 12 DCMR § F104.3.

904.4
Each owner or operator of a housing business shall install smoke detectors and comply with the requirements of the Smoke Detector Act of 1978 (D.C. Law 2-81).


SOURCE: The Housing Regulations of the District of Columbia, 5G DCRR §§ 3210 - 3210.4 authorized by Commissioners’ Order 55-1503 (August 11, 1955), as amended by section 11 of the Smoke Detector Act of 1978, D.C. Law 2-81, 24 DCR 9056, 9065 (April 28, 1978).


EDITOR’S NOTE: Article 1 of the Fire Prevention Code is published at 12D DCMR § F 104.3 (D.C. Supp. 1987).

