1528
FUNCTIONALITY ─ MANUAL WAREWASHING EQUIPMENT, HEATERS AND BASKETS  

1528.1
If hot water is used for sanitization in manual warewashing operations, the sanitizing compartment of the sink shall be:  

(a)
Designed with an integral heating device that is capable of maintaining 
water at a temperature not less than seventy-seven degrees Celsius (77o C) 
(one hundred seventy-one degrees Fahrenheit (171o F)); Pf and

(b)
Provided with a rack or basket to allow complete immersion of equipment 
and utensils into the hot water. Pf
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
