2608
DISPOSAL FACILITY ─ OTHER LIQUID WASTES AND RAINWATER  

2608.1
Condensate drainage and other nonsewage liquids and rainwater shall be drained from point of discharge to disposal according to applicable District laws and regulations.
SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
