711


DESIGN, CONSTRUCTION, AND INSTALLATION ─ BACKFLOW PREVENTION DEVICE, DESIGN STANDARD  
711.1


A backflow or backsiphonage prevention device installed on a water supply system shall meet American Society of Sanitary Engineering standards for construction, installation, maintenance, inspection, and testing for that specific application and type of device. 

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
