1805
CLEANABILITY - FLOOR COVERING, MATS AND DUCKBOARDS

1805.1
Mats and duckboards shall be designed to be removable and easily cleanable.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

