556
OPERATIONAL STANDARDS: FIRE SAFETY

556.1
All vending vehicles equipped with cooking appliances shall have at least one (1) fire extinguisher with a minimum rating of 2A-10BC mounted in the cooking area.

556.2
All vending vehicles operating with propane or open flames shall meet the following standards:

(a)
All propane compartments shall be secured and placarded;

(b)
“No Smoking” signs shall be posted on the vehicle; and

(c)
Propane or open flame permits shall be clearly posted on the vehicle.
SOURCE: Final Rulemaking published at 60 DCR 13055 (September 20, 2013).
