District of Columbia Municipal Regulations


1002
 
EMISSIONS MONITORING 

1002.1 The owner or operator of each NOx budget source shall comply with the continuous emissions monitoring system (CEMS) provisions of 40 C.F.R. Part 75, subpart H. The emissions monitoring system shall:

(a)
Be installed, certified, operated, maintained, and quality assured in a manner approved by the Department and acceptable to the United States Environmental Protection Agency (EPA); and

(b)
Demonstrate whether the NOx emissions exceed the maximum allowable NOx budget or source-specific NOx emission limits specified in this chapter.

SOURCE: Final Rulemaking published at 47 DCR 8646 (October 10, 2000); as amended by Final Rulemaking published at 47 DCR 9686 (December 8, 2000); as amended by Final Rulemaking published at 62 DCR 5685 (May 8, 2015).
	
	Environment
20 DCMR § 1002

	

	
	
	



