6457
INSPECTION - FREQUENCY, PERFORMANCE FACTORS

6457.1
Within the parameters specified in section 6456, the Department of Health shall prioritize and conduct more frequent inspections based upon its assessment of a swimming pool or spa facility's history of compliance with these regulations and its potential as a vector for waterborne illness by evaluating:

(a)
Past performance for numerous or repeat critical violations of these regulations;

(b)
Past performance for numerous or repeat violations of these regulations that are noncritical violations;

(c)
Past performance, for complaints investigated and found to be valid; and

(d)
The type of swimming pool or spa facility.


SOURCE: Final Rulemaking published at 55 DCR 012845 (December 26, 2008).

