3255
HOUSEKEEPING AND MAINTENANCE

3255.1
Adequate provision shall be made for the storage of each housekeeping supply item and each piece of equipment in a janitorial closet that is separate from any toilet or utility room.

3255.2
Each janitorial closet shall be well-lighted and ventilated and shall be equipped with a janitorial sink.

3255.3
Janitorial closets shall be locked when not in use.

3255.4
Each poison and toxic substance, including those used for pest control, shall be stored in the non-resident and non-food preparation areas of the facility.

3255.5
Each storage area containing a poison shall be locked and shall have limited access.


SOURCE: Notice of Final Rulemaking published at 49 DCR 473 (January 18, 2002).

