715

LOCATION AND PLACEMENT ─ BACKFLOW PREVENTION DEVICE   
715.1


A backflow prevention device shall be located so that it may be serviced and maintained.  

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
