712

DESIGN, CONSTRUCTION, AND INSTALLATION ─ CONDITIONING DEVICE, DESIGN  
712.1

A water filter, screen, or other water-conditioning device installed on water lines shall be located to facilitate disassembly for periodic servicing and cleaning. A water filter element shall be of the replaceable type.  

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
