1725
PIA: MINIMUM GROUND FLOOR HEIGHT (DD/MVT)

1725.1
The following minimum ground floor height requirements apply to each building located within the PIA:

	Module
	Minimum clear floor-to-ceiling height

	

	A
	22 Feet

	B & C
	22 Feet for at least 50% of its ground floor

	D
	14 Feet



SOURCE: Final Rulemaking published at 53 DCR 7860 (September 29, 2006).

