District of Columbia Municipal Regulations


M104   
SMOKE DETECTION 

M104.1   
General. 
Smoke alarms shall be installed in all dwellings used for home day care.  Smoke alarms shall be installed in accordance with Section R313.  In addition to the locations required by Section R313 smoke alarms shall be installed in all areas used for napping.

SOURCE: Final Rulemaking published at 63 DCR 15739 (December 23, 2016).
The District of Columbia Residential Code (2013), referred to as the “Residential Code,” consists of the 2012 edition of the International Residential Code for One- and Two-Family Dwellings, published by the International Code Council (ICC), as amended by the District of Columbia Residential Code Supplement (2013) (12 DCMR B). The International Residential Code is copyrighted by the ICC and therefore is not republished here. However, a copy of the text may be obtained at: http://publicecodes.cyberregs.com/icod/irc/2012/index.htm?bu=IC-P-2012-000002&bu2=IC-P-2012-000019.
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