6410
MINIMUM EQUIPMENT LIST

6410.1
Each licensed optometrist owning or operating an optometry practice in the District shall maintain in good working order the equipment necessary to provide a routine eye examination which shall include, but not be limited to, the following minimum equipment:

(a)
A device for the accurate measurement of visual acuity, distance and near;

(b)
A lensometer;

(c)
An instrument for examination of the internal structures of the eye;

(d)
A retinoscope or its equivalent;

(e)
An instrument for the measurement of intra-ocular pressure;

(f)
A refracting instrument or its equivalent;

(g)
An instrument for measurement of corneal curvature;

(h)
An instrument for the measurement of visual fields;

(i)
A biomicroscope; and

(j)
A color vision testing device.

6410.2
In addition to the requirements set forth in § 6410.1, the minimum equipment in an optometrist's office may also include a blood pressure measuring device.

SOURCE: Final Rulemaking published at 55 DCR 12043 (November 21, 2008).

