2707
NUMBERS AND CAPACITIES ─ TOILET ROOM RECEPTACLE, COVERED  

2707.1
A toilet room used by females shall be provided with a covered receptacle for feminine hygiene products.  

SOURCE: Final Rulemaking published at 50 DCR 4394 (June 6, 2003); as amended by Final Rulemaking published at 59 DCR 13690 (November 30, 2012).
