716
LOCATION AND PLACEMENT ─ CONDITIONING DEVICE 
716.1


A water filter, screen, or other water-conditioning device installed on water lines shall be located to facilitate disassembly for periodic servicing and cleaning.  

716.2


Fill-and-drain whirlpool spa bathtub pumping and recirculation systems shall be treated with an effective biocide and scale-reduction agent as recommended by the manufacturer.

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
