717


OPERATION AND MAINTENANCE ─ PROHIBITING A CROSS CONNECTION*  
717.1      

A person shall not create a cross connection by connecting a pipe or conduit between the drinking water system and a nondrinking water system or a water system of unknown quality. 
717.2


The piping of a nondrinking water system shall be durably identified so that it is readily distinguishable from piping that carries drinking water.N  

Source: Final Rulemaking published at 56 DCR 7975 (October 9, 2009).
