1816
FUNCTIONALITY - OUTDOOR SERVICING AREAS, OVERHEAD PROTECTION

1816.1
Servicing areas shall be provided with overhead protection, except that areas used only for the loading of water or the discharge of sewage and other liquid waste through the use of a closed system of hoses need not be provided with overhead protection.

SOURCE: Final Rulemaking published at 56 DCR 5245 (July 3, 2009).

