3265
WHEELCHAIR ACCESS AND HANDICAPPED ACCESS

3265.1
Ramps shall be generally designed for wheelchair use, with the maximum gradient of one (1) to twelve (12), or eight and thirty-three one hundredths percent (8.33%).

3265.2
At least one (1) toilet room and stall that is large enough to accommodate a resident in a wheelchair and an attendant shall be provided on each floor.

3265.3
Doors to each toilet room and stall shall have a minimum width of two (2) feet and ten (10) inches to admit a wheelchair.

3265.4
A sink and toilet that is designed for residents with disabilities, particularly those who use wheelchairs with staff attendants, shall be available directly adjacent to each therapy area.

3265.5
Wheelchair use shall be considered in the design and equipping of personal grooming services rooms.

3265.6
Wheelchair seating in the central dining room shall be available as needed.

3265.7
The primary entrance to the facility shall be accessible to and usable by each handicapped person, and each exterior walk leading to the primary entrance shall be graded to the entrance level.

3265.8
A properly designed parking area shall be reserved close to the building to allow room for each handicapped person to get in and out of an automobile on a surface useable by each person who is in a wheelchair.

3265.9
Each floor shall have a non-slip finish and, where used by a handicapped person, shall be on a common level or connected by a negotiable ramp.

3265.10
Each door that is used by a handicapped person shall be capable of being opened with a single effort by a person who uses a wheelchair.

3265.11
Each water fountain, public telephone, and bath and toilet room shall be easily accessible to and useable by handicapped persons.

3265.12
Each new construction of a facility and each addition to and remodeling of an existing building that is used for a facility shall conform to the requirements set forth in the Uniform Federal Accessibility Standards.


SOURCE: Notice of Final Rulemaking published at 49 DCR 473 (January 18, 2002).

