District of Columbia Municipal Regulations


K104  
SMOKE DETECTION 

K104.1  
General.  Smoke alarms shall be installed in all home day care occupancies.  Smoke alarms shall be installed in accordance with Section R313 of the Residential Code or Section 907.2.11.2 of the Fire Code as applicable.  In addition to the locations required by Section R313 of the Residential Code or Section 907.2.11.2, smoke alarms shall be installed in all areas used for napping.

SOURCE: Final Rulemaking published at 63 DCR 15739 (December 23, 2016).

The District of Columbia Fire Code (2013), referred to as the “Fire Code,” consists of the 2012 edition of the International Fire Code  as amended by the District of Columbia Fire Code Supplement (2013) (12 DCMR H).  The International Fire Code is copyrighted by the International Code Council and therefore is not republished here.  However, a copy of the text may be obtained at: http://publicecodes.cyberregs.com/icod/ifc/2012/index.htm?bu=IC-P-2012-000003&bu2=IC-P-2012-000019.
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