District of Columbia Municipal Regulations


10729
STATISTICAL TECHNIQUES

10729.1
Where appropriate, each manufacturer shall establish and maintain procedures for identifying valid statistical techniques required for establishing, controlling, and verifying the acceptability of process capability and product characteristics.


10729.2
Sampling plans, when used, shall be written and based on a valid statistical rationale. Each manufacturer shall establish and maintain procedures to ensure that sampling methods are adequate for their intended use and to ensure that when changes occur the sampling plans are reviewed. These activities shall be documented.


SOURCE: Final Rulemaking published at 60 DCR 10252 (July 12, 2013).
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