District of Columbia Municipal Regulations


10726
QUALITY SYSTEM RECORD

10726.1
Each manufacturer shall maintain a quality system record (QSR). The QSR shall include, or refer to the location of, procedures and the documentation of activities required by this chapter that are not specific to a particular type of device(s), including, but not limited to, the records required by § 10702. Each manufacturer shall ensure that the QSR is prepared and approved in accordance with § 10706.

SOURCE: Final Rulemaking published at 60 DCR 10252 (July 12, 2013).
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